SET-UP AND OPERATION OF EDM

(Electromagnetic Distance Measurement)

Preliminaries:  Ensure battery is put on charge day before the meeting.

- Location:

a) For Throws:-  Must give a clear view of the landing sector, circle centre and rim (or 			8m point and arc for javelin).

b) For Horizontal Jumps:-  Must give a clear and complete view of the landing sand pit 	and take off board.

c) For Vertical Jumps:- Must give a clear and complete view of the bar. For Pole Vault 	centre of runway is best, and High Jump centre behind fan.

2.	a)   Assembly and Levelling:

- Ensure tripod is set firmly into the ground at a convenient working height for all users with top plate as level as possible (use spirit level).

- Fit tribrach, making sure securing screw is tight and base cannot move.

- Level Tribrach, use two foot screws to centre bubble between them then adjust remaining screw to centre bubble in bubble-level.

- Fit geodemeter on tribrach (power socket goes in recess), lock tribrach in place.

- Disinfect eyepiece and surrounds to minimise possibility of eye infections.

- Adjust for parallax - hand in front of telescope and check hairlines are sharp, adjust lens as necessary.

- Connect external batteries (if used).

b)   Setting up the Instrument:

Turn power on.

- Either press YES (enter) to continue or machine goes straight to next step.

- Check level on display - if necessary carefully adjust on tribrach foot screws to centre both index marks. Prolonged adjustment will force return to c) i.

- Screen will instruct to turn instrument through 200 grads (180°), do so and when display shows 'A/M', press A/M. Alternatively, it will do this automatically.

- Rotate instrument through 200grads (180°) again.

- Enter approx. temperature, press ENTER (Yes) (it may be necessary to press 'ENTER’ twice).

- Enter approx. atmospheric pressure, press ENTER (Yes) (it may be necessary to press 'ENTER' twice).

- Enter prism constant (Zero for our prisms), press ENTER (Yes) (it may be necessary to press 'ENTER' twice).

- Enter horizontal component (00.00.00), press ENTER (Yes).

For Throws   Press program button PRG

i)	Enter '60', press ENTER (Yes) (this is the throws program, horizontal jumps program is '24', vertical jumps is '0' menu 1.2.2).

ii)	Enter Job No. '1', press ENTER (Yes).   Instrument reads:	IMEM

EXMEM

SERIAL

iii)	Ignore, press ENTER (Yes).

iv)	Prism in centre of circle (or 8m point), focus on prism, press A/M.

v)	Wait for measurement (approx. 6 sec.), press REG.

vi)	Display ???? ='0', press back space ‘', enter circle radius (1.25 for discus, 1.0675 for hammer/shot, 8.0 for javelin), press ENTER (Yes).

vii)	Display ???? = (blank), enter ‘1', press ENTER (Yes). (this is round number)

viii)	Display ????= (blank), enter User No. ‘1’, press ENTER (Yes). (this is entrant number)

ix)	Place prism on inner edge of circle or arc, focus on prism, press A/M.

x)	Wait for measurement (approx. 6 sec.), press REG. Record this measurement (should read '0') (Accept if less than 0.005)

xi)	To get back to next measurement press No.

xii)	Take two initial check measurements at different locations in, or adjacent to, throwing area. Checks should be marked and measured using a steel tape. Record  all readings and measurements. Repeat checks and edge of circle or arc at end of competition.

Taking Measurements:

- Enter Round No. '1', press ENTER (Yes).

- Enter User No.' 1', press ENTER (Yes).

- Aim telescope at landing point, focus on target prism when positioned. When cross hairs locked on prism, press A/M.

- Wait for measurement (approx. 6 sec.), press REG.

- Record distance measured and signal clearly to prism handler to remove prism (this may be done as soon as you are sure reading is correct).

- Display shows ' Store?', press 'NO'.

- Return to d) i. and repeat for all further trials.

For Horizontal Jumps   Press program button PRG

i)	Enter '24', press ENTER(Yes) (this is the horizontal jumps program

ii)	Enter Job No. '1', press ENTER(Yes).   Instrument reads:	IMEM

# EXMEM

# SERIAL

iii)	Ignore, press ENTER(Yes).

iv)	Screen shows :		1  Known Line

2.  Unknown Line

v)	Select  2

vi)	Screen shows   STN  = 1 		-  press YES

vii)		Screen shows   HT measure?   	-  press YES

viii)		Screen shows   Ih  = 0		-  press YES

ix)		Screen shows   Ref. line point A

Pno  =  1		-  press YES

x)	Screen shows   SH  =  0.000		-  press YES

xi)	Screen shows   STD

### HA

VA

xii)	Focus on prism on one end of take off board      -  Press A/M

xiii)	Instrument shows “measuring”,  when finished  -  Press Reg

xiv)	Screen shows   Ref. line point B

Pno  =  2		-  press YES

xv)	Screen shows   SH  =  0.000		-  press YES

xvi)	Screen shows   STD

### HA

VA

xvii)	Focus on prism on other end of take off board   -  Press A/M

xviii)	Instrument shows “measuring”,  when finished  -  Press Reg

xix)	Screen shows   	1.  Measure

#### 2.  Setout

3. [………]		-   Select 1

xx)	 Screen shows     Slope = xx.xxxx		-   Press YES

xxi)	 Screen shows     SH  =  0.000		-   Press YES

xxii)	 Screen shows     STD

### HA

VA

Set-up is finished.

Taking Measurements. Horizontal Jumps (cont)

- For a measurement, focus on the prism.

- Press A/M     ( DO NOT press  REG)

- Screen shows  	??????????? =  ……………

??????????? =  ……………

##### RT of  s       =  ……………

??????????? =  ……………

iv.	Read   RT of s   -      This is the distance and may show as negative.

- For the next jump just focus on the prism and press A/M again and so on.

- Immediately before and after the competition, confirm the instrument accuracy on two pre-measured check marks at either end of the pit and at the centre of the take-off board (this last one should of course read zero)

- Helpful hint:-  Refocus on the centre of the pit between jumps to minimise change when measuring.

For Vertical Jumps  Press program button  PRG

- Enter ‘0’, then press ENTER.

- Enter approx. temperature, press ENTER (Yes) (it may be necessary to press 'ENTER’ twice).

- Enter approx. atmospheric pressure, press ENTER (Yes) (it may be necessary to press 'ENTER' twice).

- Enter prism constant (Zero for our prisms), press ENTER (Yes) (it may be necessary to press 'ENTER' twice).

- Note:   some instruments may skip from item v. to ix. Missing out x., xi. & xii..

- Enter horizontal component (00.00.00), press ENTER (Yes).

- Set prism at the back of the box for pole vault, or on the ground under the centre of the bar for high jump.

- Sight on the prism, take the measurement by pressing A/M.

- Leave the instrument in position horizontally and only use  vertical direction from now on.

- Press ENTER key until screen shows HA:, HD:,VD:.

- Sight on the ground, back of the box or under the middle of the high jump to set the zero height.

- Press MNU key

- Select 1   SET

- Select 2   PRESET

- Select 2   ROE.

- Enter ‘0.000’ then press ENTER.

- To check the height sight on the top of the bar vertically above the point on the ground.  Do not attempt any adjustments of the instrument in a horizontal direction and do not attempt to take any measurements.

- Use the VD reading as height measurement.

Note    Make a note of HA: reading at step (x).  If the horizontal position is changed return to this reading to return to calibration.